Manse Folder

[Insert Address]

[Date]

Contents

1.	Keys and Codes	2

2.	Services	3

2.1.	In an Emergency	3

If your meter is sparking or on fire	3

What to do if you smell gas	3

2.2.	Meter Locations	4

2.3.	Isolators & Stop Cock	5

2.4.	Current Utility Companies	5

2.5.	Smoke & CO Detectors	7

2.6.	Mandatory Certificates	8

3.	Systems	9

3.1.	Central Heating System	9

3.2.	EV charging point (if applicable)	9

3.3.	Solar panels (if applicable)	9

4.	Waste & Recycling	10

5.	The Synod Manse Policy.	11

6.	Building Survey and Annual Manse Checks	12

7.	Recent refurbishment(s)	13

8.	User Manuals	14

# Keys and Codes

| Door / No: Keys | Image of Key | Notes |
| --- | --- | --- |
| Front Door: ? x Sets. |  | 1 x Set from/in Key Safe. |
| Garage ? x Key(s). |  |  |
| Back Door (Kitchen) ? x Key(s). |  |  |
| Alarm Panel At the end of the hallway… |  | Code: ????. Not to be changed without reference to Synod Property Office. |
| Key Safe At the side of the… |  | Code: ????. Can be changed / unused. Please advise Synod Property Office. |

# Services

## In an Emergency

### If your meter is sparking or on fire

Call: 999.

### What to do if you smell gas

It’s crucial to act quickly in a gas emergency.  These are the steps you need to take to stay safe:

- Get fresh air immediately; make sure you open all doors and windows to ventilate the area.

- Turn off the gas emergency control valve (also called gas emergency shut off valve) at the meter (see Section 2.3 below), unless the meter is located in a basement or cellar.

- Extinguish all naked flames and don’t smoke.

- Don’t operate electrical switches (including turning light switches on or off) because this can ignite escaping gas.

- Call 0800 111 999, the Gas Emergency service number.

- If the attending emergency operative identifies an issue with any gas appliances, follow their advice concerning the use of the equipment.  Where advised, contact a Gas Safe registered engineer to fix the appliance and check it’s safe.

- If you’re feeling unwell, visit your GP or hospital immediately and let them know you may have been exposed to carbon monoxide.

- Don’t turn the gas supply on again until it’s been checked by a Gas Safe registered engineer.

## Meter Locations

| Meter, Serial No: & Location | Photo of Meter | Move In Reading | Notes |
| --- | --- | --- | --- |
| Water ???????? In pavement to right of driveway (looking at the manse). |  | _ _ _ _ _ . |  |
| Gas ???????????? In LH Utility Cupboard (looking at the manse)/ Understairs Cupboard. |  | _ _ _ _ _ . |  |
| Electricity ???????????? In the Garage / RH Utility Cupboard (looking at the manse)/ Understairs Cupboard. |  | Import: _ _ _ _ _ . Export: _ _ _ _ _ . |  |

## Isolators & Stop Cock

| Isolator / Stop Cock & Location | Photo | Notes |
| --- | --- | --- |
| Water Isolator In the pavement to the right of the driveway (looking at the manse). |  |  |
| Water Stop Cock In the kitchen unit under the sink. |  |  |
| Gas Emergency Control Valve To the left/right of the Gas meter. |  |  |
| Electricity Isolator Consumer Unit (Fuse Board) in understairs cupboard. |  |  |

## Current Utility Companies

Water:	???? Water

www.water suppliercompany.co.uk

0800 123 4567 (free to call for all UK mobiles and landlines)

Gas:	???? Energy

www.gassuppliercompany.co.uk

0800 123 4567 (free to call for all UK mobiles and landlines)

Electricity:	???? Energy

www.electricitysuppliercompany.co.uk

0800 123 4567 (free to call for all UK mobiles and landlines)

Telephone:	No current service.

Master BT socket is in the hallway:

Photo

The occupant is free to switch Gas or Electricity suppliers and to choose their telephone/broadband provider.

## Smoke & CO Detectors

The Smoke and Carbon Monoxide Alarm (England) Regulations 2015

The above Regulations were amended with effect from 1st October 2022.  Pastorates are now required to:

- Ensure at least one smoke alarm is equipped on each storey of a manse where there is a room used as living accommodation*.

- Ensure a carbon monoxide alarm is equipped in any room used as living accommodation* which contains a fixed combustion appliance** (excluding gas cookers).

- Ensure smoke alarms and carbon monoxide alarms are repaired or replaced once informed and found that they are faulty.

| Detector / Location | Photo | Expiry Date | Notes |
| --- | --- | --- | --- |
| Smoke Ground Floor landing. |  |  | Mains/battery powered. |
| Smoke First Floor landing |  |  | Mains/battery powered. |
| Carbon Monoxide Kitchen |  |  | Mains/battery powered. |

Testing alarms and replacing batteries is the occupant’s responsibility.

*   A room in which a person spends a significant amount of time.

** A gas fireplace or boiler.

## Mandatory Certificates

## Gas Safety Certificate (GSC)

To be renewed every 12 months.

## Electrical Inspection and Condition Report (EICR)

To be renewed every 5 years.

## Energy Performance Certificate (EPC)

Valid for 10 years.

# Systems

## Central Heating System

The Central Heating System is gravity-fed, with cold water tanks in the loft and a hot water cylinder in the landing airing cupboard.

The Central Heating & Hot Water programmer is in the airing cupboard /hallway.

| Photo of the location of the programmer. | Close-up photo of the programmer. |
| --- | --- |

[Name and model of the programmer].

There are separate timings for heating and hot water, which can be 24hr, 5/2 day or 7-day.

| The Central Heating thermostat is on the lounge/hall wall. | Photo of the thermostat. |
| --- | --- |
| There is a Frost Stat in the garage. | Photo of the frost stat. |

## EV charging point (if applicable)

## Solar panels (if applicable)

The Photovoltaic Solar power system is self-managing, and automatically exports unused power to the National Grid, for which payment is received on the Electricity bill.

# Waste & Recycling

# The Synod Manse Policy.

# Building Survey and Annual Manse Checks

## Annual Manse Checks

## Building Survey

## Land Registry Title & Plan

# Recent refurbishment(s)

# User Manuals

List of User Manuals & Guarantees and locations (in a separate folder).