This must be arranged to be performed at least one month before the Minister’s expected arrival date.

- Inform the Insurance company that a Minister has been called and of their expected arrival date.

- If the Central Heating System had been drained of water, arrange for a Gas Safe plumber to refill and service the boiler, and perform a Gas Safety Check.

- If the Central Heating System had not been drained arrange for the Cold-Water Tank to be flushed, if applicable.

- Perform an Annual Check on the manse if one has not been performed within three months of the Minister’s expected arrival date.

- Additionally:

- Test that the lights work in all rooms, changing bulbs as required.

NB: The garage, shed and any security lights.

- Test smoke and carbon monoxide alarms, replacing the batteries if they are not mains powered.  Check their expiry dates and replace if due within 12 months.

- Ensure that all the kitchen appliances and white goods are in working order.

- Check all taps and showers for signs of leaks.

- Check that the toilets are not overflowing (if the water had been turned off it is possible that ball valves could stick).

- Test bathroom extractor fans if possible.

- Check that all windows open smoothly and lightly oil if necessary.

- Prepare/update the Manse Folder.

- Consider a professional clean.

- Retrieve the bins from the garage or shed.

- Cancel gardener.

- In the week before the Minister is due to arrive:

  - Once the Hot Water Cylinder is up to temperature, if applicable, run all taps for at least 15 minutes.

  - After cleaning, turn on the fridge & freezer.